Name: ________________________________________	Electrical and Power Transmission Installer, General

Directions: Evaluate the student by entering the appropriate number to indicate the degree of competency achieved. Rating Scale (0-6): 0 No Exposure – no experience/knowledge in this area; program/course did not provide instruction in this area 1 Unsuccessful Attempt – unable to meet knowledge or performance criteria and/or required significant assistance 2 Partial Demonstration – met some of the knowledge or performance criteria with or without minor assistance 3 Knowledge Demonstrated – met knowledge criteria without assistance at least once 4 Performance Demonstrated – met performance criteria without assistance at least once 5 Repeated Demonstration – met performance and/or knowledge criteria without assistance on multiple occasions 6 Mastered – successfully applied knowledge or skills in this area to solve related problems independently

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # A. Appreciate and apply all personal and workplace safety procedures | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Complete the necessary forms that would be used in an accident investigation. |  |
|  |  |  |  |  |  |  | 2. Explain the information listed on an MSDS sheet furnished for a selected material stored on-site. |  |
|  |  |  |  |  |  |  | 3. Demonstrate the proper selection of personal protective equipment. |  |
|  |  |  |  |  |  |  | 4. Perform the required periodic inspection for a digger/derrick truck and an aerial-lift platform and complete all necessary inspection forms. |  |
|  |  |  |  |  |  |  | 5. Perform a hazard assessment of a work area before beginning work. |  |
|  |  |  |  |  |  |  | 6. Demonstrate the proper method of visually inspecting rubber line hose, hoods, blankets, rubber gloves and leather protectors. |  |
|  |  |  |  |  |  |  | 7. Perform a job briefing. |  |
|  |  |  |  |  |  |  | 8. Demonstrate proper use of tools used to ground, spike and cut a section of URD primary cable. |  |
|  |  |  |  |  |  |  | 9. Demonstrate proper technique to ground, spike and cut a section of URD primary cable. |  |
|  |  |  |  |  |  |  | 10. Identify the proper fire extinguisher to be used on each of the four classes of fire. |  |
|  |  |  |  |  |  |  | 11. Identify the location and types of all fire extinguishers on the company premises. |  |
|  |  |  |  |  |  |  | 12. Successfully complete a certified course in first aid. |  |
|  |  |  |  |  |  |  | 13. Successfully complete a certified course in cardiopulmonary resuscitation. |  |
|  |  |  |  |  |  |  | 14. State the international distress call. |  |
|  |  |  |  |  |  |  | 15. List info needed by dispatcher in case of emergency. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | ## B. Demonstrate safe climbing practices | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Demonstrate the proper care, maintenance and inspection of a complete set of climbing gear and tools. |  |
|  |  |  |  |  |  |  | 2. Demonstrate the proper method of pole inspection. |  |
|  |  |  |  |  |  |  | 3. Explain elements of pole brand and determine pole depth. |  |
|  |  |  |  |  |  |  | 4. Demonstrate proper method, tools and/or equipment for climbing a defective pole. |  |
|  |  |  |  |  |  |  | 5. Demonstrate basic climbing techniques. |  |
|  |  |  |  |  |  |  | 6. Demonstrate climbing over a cross arm. |  |
|  |  |  |  |  |  |  | 7. Identify common knots. |  |
|  |  |  |  |  |  |  | 8. Demonstrate the proper use of a hand line for sending tools and material. |  |
|  |  |  |  |  |  |  | 9. Demonstrate framing different types of pole structures. |  |
|  |  |  |  |  |  |  | 10. Demonstrate the proper procedure for pole top and bucket rescue. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | C. Frame a line pole | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Demonstrate recognition and use of pole hardware and material. |  |
|  |  |  |  |  |  |  | 2. Demonstrate framing poles on the ground. |  |
|  |  |  |  |  |  |  | 3. Demonstrate proper equipment grounding, system grounding and pole grounds. |  |
|  |  |  |  |  |  |  | 4. Demonstrate installing guy assemblies. |  |
|  |  |  |  |  |  |  | 5. Determine the proper guy lead using Pythagorean Theorem. |  |
|  |  |  |  |  |  |  | 6. Demonstrate the proper installation of cross arms. |  |
|  |  |  |  |  |  |  | 7. Demonstrate proper installation of insulators. |  |
|  |  |  |  |  |  |  | 8. Demonstrate proper installation of and tying in of conductors. |  |
|  |  |  |  |  |  |  | 9. Identify basic staking principles. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | ## D. Operate equipment consistent with industry and safety standards | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Perform all DOT and OSHA required inspections on vehicles and equipment. |  |
|  |  |  |  |  |  |  | 2. Successfully complete the requirements for a class A commercial driver’s license. |  |
|  |  |  |  |  |  |  | 3. Identify and inspect the major components of vehicle and equipment hydraulic systems. |  |
|  |  |  |  |  |  |  | 4. Demonstrate proper traffic control and work area safety. |  |
|  |  |  |  |  |  |  | 5. Identify the major working parts of a selected digger/derrick. |  |
|  |  |  |  |  |  |  | 6. Demonstrate the proper positioning of outriggers on both paved and unpaved surfaces for digger/derrick/aerial devices. |  |
|  |  |  |  |  |  |  | 7. Locate and explain a lift capacity chart on a derrick boom. |  |
|  |  |  |  |  |  |  | 8. Determine the travel height, horizontal reach and boom load limitations, from the nameplate data given on a selected digger/derrick and aerial device. |  |
|  |  |  |  |  |  |  | 9. Demonstrate proper use of the crane (derrick) and hoist hand signals illustrated in the APPA safety manual, pg. 71. |  |
|  |  |  |  |  |  |  | 10. Demonstrate the proper method of rigging a pole to be set using a derrick. |  |
|  |  |  |  |  |  |  | 11. Locate the proper lifting points on the equipment listed below: |  |
|  |  |  |  |  |  |  | oil circuit reclosure |  |
|  |  |  |  |  |  |  | pole type transformer |  |
|  |  |  |  |  |  |  | pad mount transformer |  |
|  |  |  |  |  |  |  | Voltage regulator |  |
|  |  |  |  |  |  |  | pole mount transformer |  |
|  |  |  |  |  |  |  | 12. Conduct a pre-use inspection of a backhoe or trencher. |  |
|  |  |  |  |  |  |  | 13. Identify the major working parts of a backhoe or trencher. |  |
|  |  |  |  |  |  |  | 14. Demonstrate the use of trenchers and backhoes in different situations. |  |
|  |  |  |  |  |  |  | 15. Determine the date of the last dielectric test performed on selected digger/derrick/aerial platforms. |  |
|  |  |  |  |  |  |  | 16. Perform an operational inspection of an aerial platform. |  |
|  |  |  |  |  |  |  | 17. Inspect, position and operate the winch, jib, and lifting attachments on a material handling aerial platform. |  |
|  |  |  |  |  |  |  | 18. Locate and identify the over ride emergency lower controls on selected digger/derrick/aerial platforms. |  |
|  |  |  |  |  |  |  | 19. Demonstrate the operation of the lower emergency controls on selected digger/derrick/aerial platforms. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # E. Set and replace poles | Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Conduct a pre-work “tailgate” discussion for a selected job. |  |
|  |  |  |  |  |  |  | 2. Select the appropriate warning devices to block a lane of traffic or barricade a worksite. |  |
|  |  |  |  |  |  |  | 3. Demonstrate the ability to safely maneuver a digger/derrick boom or aerial platform between conductors and over a roadway. |  |
|  |  |  |  |  |  |  | 4. Demonstrate the proper methods of truck grounding listed below: main-line neutral temporary screw-in ground rod. |  |
|  |  |  |  |  |  |  | 5. Demonstrate the proper method of handling and controlling the butt of a pole being maneuvered and set in an energized line. |  |
|  |  |  |  |  |  |  | 6. Demonstrate the proper method of securing the butt of a pole to be pulled that may be top heavy. |  |
|  |  |  |  |  |  |  | 7. Demonstrate techniques to manually set poles. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | F. Conduct transformer wiring and connections | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Explain ohms law and basic electricity concepts. |  |

|  |  |  |  |  |  |  | 2. Identify components of a transformer. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 3. Demonstrate proper framing specifications for transformer installations. |  |
|  |  |  |  |  |  |  | 4. Identify and demonstrate proper single phase transformer connections. |  |
|  |  |  |  |  |  |  | 5. Identify and demonstrate proper three phase transformer connections. |  |
|  |  |  |  |  |  |  | 6. Demonstrate proper equipment grounding techniques. |  |
|  |  |  |  |  |  |  | 7. Demonstrate how to properly inspect energization and isolation transformers. |  |
|  |  |  |  |  |  |  | 8. Demonstrate the proper over-current and over-voltage equipment needed for protection of transformers. |  |
|  |  |  |  |  |  |  | 9. Demonstrate assembly and installation of different types of meter loops. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | G. Conduct metering and service connections | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Demonstrate the proper method used to install a meter. |  |
|  |  |  |  |  |  |  | 2. Demonstrate sizing of service conductors. |  |
|  |  |  |  |  |  |  | 3. Demonstrate proper service conductor installation. |  |
|  |  |  |  |  |  |  | 4. Demonstrate knowledge of meter, meter application and meter reading. |  |
|  |  |  |  |  |  |  | 5. Demonstrate knowledge of instrument metering. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # H. Install and repair conductors | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Demonstrate knowledge and techniques for stringing conductors. |  |
|  |  |  |  |  |  |  | 2. Demonstrate proper use of strap hoists for conductor installation and repair. |  |
|  |  |  |  |  |  |  | 3. Demonstrate proper procedures for deadending and splicing of conductors. |  |
|  |  |  |  |  |  |  | 4. Select the tools and materials needed to install an ACSR single sleeve full tension compression splice. |  |
|  |  |  |  |  |  |  | 5. Select the tools and materials needed to install an ACSR automatic tension splice. |  |
|  |  |  |  |  |  |  | 6. Demonstrate the proper method of installing an ACSR single sleeve full tension compression splice. |  |
|  |  |  |  |  |  |  | 7. Inspect and identify any installation defect from five selected previously installed full tension splices. |  |
|  |  |  |  |  |  |  | 8. Demonstrate the proper method of installing the connectors listed below: |  |
|  |  |  |  |  |  |  | tap connector |  |
|  |  |  |  |  |  |  | split bolt |  |
|  |  |  |  |  |  |  | pin terminal |  |
|  |  |  |  |  |  |  | straight lug |  |
|  |  |  |  |  |  |  | 9. Demonstrate the proper method of tying and untying conductors. |  |

|  |  |  |  |  |  |  | 10. Demonstrate proper grounding practices. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 11. Demonstrate the proper method of sagging a line with sag charts and tables. |  |
|  |  |  |  |  |  |  | Other: |  |

| 0 | 1 | 2 | 3 | 4 | 5 | 6 | I. Demonstrate proper rubber gloving methods |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Demonstrate the proper use and care of gloves and sleeves. |  |
|  |  |  |  |  |  |  | 2. Demonstrate the proper use and care of hard shell cover applications. |  |
|  |  |  |  |  |  |  | 3. Demonstrate the proper use and care of line hoses and rubber blankets. |  |
|  |  |  |  |  |  |  | 4. Demonstrate the proper use and care of hot line tools. |  |
|  |  |  |  |  |  |  | 5. Demonstrate knowledge of lockout/tagout procedures. |  |
|  |  |  |  |  |  |  | Other: |  |

| 0 | 1 | 2 | 3 | 4 | 5 | 6 | ## J. Install and troubleshoot URD |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Identify the five components of a selected piece of underground primary cable. |  |
|  |  |  |  |  |  |  | 2. Identify the main components of a 200 amp loadbreak elbow and a non-loadbreak elbow. |  |
|  |  |  |  |  |  |  | 3. Identify hazards and safeguards associated with trenching and excavating. |  |
|  |  |  |  |  |  |  | 4. Identify the type of system at a selected site (radial or loop). |  |
|  |  |  |  |  |  |  | 5. Demonstrate the proper method of marking primary cable in a three phase switching cabinet, pad mount enclosure, and loop feed systems. |  |
|  |  |  |  |  |  |  | 6. Identify the following transformers feed through padmount radial padmount transclosure. |  |
|  |  |  |  |  |  |  | 7. Identify the major transformer components of a padmount. |  |
|  |  |  |  |  |  |  | 8. Demonstrate the proper procedure to de-energize the secondary of a bayonet equipped padmount transformer. |  |
|  |  |  |  |  |  |  | 9. Demonstrate the proper procedure to completely de-energize a padmount transformer. |  |
|  |  |  |  |  |  |  | 10. Interpret construction specifications. |  |
|  |  |  |  |  |  |  | 11. Demonstrate the proper installation of overvoltage and overcurrent for underground cables. |  |
|  |  |  |  |  |  |  | 12. Demonstrate trouble shooting and fault locating of underground cable. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | K. Coordinate system fusing components | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Interpret a single line diagram. |  |
|  |  |  |  |  |  |  | 2. Interpret a time-current curve. |  |
|  |  |  |  |  |  |  | 3. Identify the five main components of a single element fuse link. |  |

|  |  |  |  |  |  |  | 4. Identify the main components of a lighting arrestor. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 5. Demonstrate proper procedure to install lighting arrestor. |  |
|  |  |  |  |  |  |  | 6. Identify the main components of an enclosed fuse cutout. |  |
|  |  |  |  |  |  |  | 7. Identify the main components of an open fuse cutout. |  |
|  |  |  |  |  |  |  | 8. Identify the main components of an open-link fuse cutout. |  |
|  |  |  |  |  |  |  | 9. Identify the main components of an oil circuit recloser and sectionalizer. |  |
|  |  |  |  |  |  |  | 10. Demonstrate the operation of a single phase recloser and sectionalizer. |  |
|  |  |  |  |  |  |  | 11. Place a single phase recloser in the non reclosing mode. |  |
|  |  |  |  |  |  |  | 12. Draw a single line diagram that illustrates a line with a recloser and three branch sectionalizers and a fuse. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | L. Inspect and service substations and voltage regulators | ### Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Identify the regulator bushings listed below: |  |
|  |  |  |  |  |  |  | load |  |
|  |  |  |  |  |  |  | source |  |
|  |  |  |  |  |  |  | common |  |
|  |  |  |  |  |  |  | 2. Demonstrate the proper procedure to energize and test the operation of a voltage regulator in the field. |  |
|  |  |  |  |  |  |  | 3. Demonstrate two methods used to determine that a voltage regulator is in the neutral position. |  |
|  |  |  |  |  |  |  | 4. Demonstrate the proper method used to place a voltage regulator in service. |  |
|  |  |  |  |  |  |  | 5. Demonstrate the proper method used to short and ground the bushings on a capacitor and to energize a capacitor. |  |
|  |  |  |  |  |  |  | 6. Select the proper protective equipment to be worn when working with capacitors that have not been grounded. |  |
|  |  |  |  |  |  |  | 7. Interpret a single line diagram of an existing selected substation. |  |
|  |  |  |  |  |  |  | 8. Explain substation grounding. |  |
|  |  |  |  |  |  |  | 9. Explain lighting protection of substations. |  |
|  |  |  |  |  |  |  | 10. Explain how to conduct substation inspection. |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | ## M. Demonstrate leadership skills in the classroom, industry, and society | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Demonstrate an understanding of SkillsUSA/VICA, its structure, and activities. |  |
|  |  |  |  |  |  |  | 2. Demonstrate an understanding of one's personal values. |  |
|  |  |  |  |  |  |  | 3. Perform tasks related to effective personal management skills. |  |
|  |  |  |  |  |  |  | 4. Demonstrate interpersonal skills. |  |
|  |  |  |  |  |  |  | 5. Demonstrate etiquette and courtesy. |  |
|  |  |  |  |  |  |  | 6. Demonstrate effectiveness in oral and written communications. |  |
|  |  |  |  |  |  |  | 7. Develop and maintain a code of professional ethics. |  |
|  |  |  |  |  |  |  | 8. Maintain good professional appearance. |  |
|  |  |  |  |  |  |  | 9. Perform basic tasks related to securing and terminating employment. |  |
|  |  |  |  |  |  |  | 10. Perform basic parliamentary procedures in group meeting. |  |
|  |  |  |  |  |  |  | Other: |  |