Name: ________________________________________	Plumbing

Directions: Evaluate the student by checking the appropriate number to indicate the degree of competency. Rating Scale (0-6): 0 No Exposure – no experience/knowledge in this area; program/course did not provide instruction in this area 1 Unsuccessful Attempt – unable to meet knowledge or performance criteria and/or required significant assistance 2 Partial Demonstration – met some of the knowledge or performance criteria with or without minor assistance 3 Knowledge Demonstrated – met knowledge criteria without assistance at least once 4 Performance Demonstrated – met performance criteria without assistance at least once 5 Repetitive Demonstration – met performance and/or knowledge criteria without assistance on multiple occasions 6 Mastered – successfully applied knowledge or skills in this area to solve related problems independently

NOTES:

* = Core competencies (essential for the first day on the job).

# = Core competencies with #3 (Knowledge Demonstrated) as the highest level of expected achievement.

The numbers in brackets [e.g., A01] represent the IDs used in computerized tracking software.

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 1. Safety | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | *1. Demonstrate good safety practices [A01] |  |
|  |  |  |  |  |  |  | *2. Demonstrate proper techniques for lifting and carrying [A02] |  |
|  |  |  |  |  |  |  | #3. Exercise extreme caution when working around electric lines and equipment [A03] |  |
|  |  |  |  |  |  |  | *4. Maintain work area properly [A04] |  |
|  |  |  |  |  |  |  | *5. Adhere to safety signs and color codes [A05] |  |
|  |  |  |  |  |  |  | *6. Identify and report potential safety hazards [A06] |  |
|  |  |  |  |  |  |  | *7. Practice ladder and scaffold safety [A07] |  |
|  |  |  |  |  |  |  | *8. Safely operate hand and power tools [A15] |  |
|  |  |  |  |  |  |  | #9. Properly handle gas cylinders, hoses, and regulators [A16] |  |
|  |  |  |  |  |  |  | *10. Wear required safety equipment [A09] |  |
|  |  |  |  |  |  |  | #11. Identify types of fire extinguishers and their proper uses [A12] |  |
|  |  |  |  |  |  |  | *12. Practice fire safety when operating heating equipment or working with hot materials [A13] |  |
|  |  |  |  |  |  |  | *13. Demonstrate safe practices when using flux [A14] |  |
|  |  |  |  |  |  |  | *14. Demonstrate safe use of solvents [A17] |  |
|  |  |  |  |  |  |  | #15. Read and interpret MSDS sheets [A18] |  |
|  |  |  |  |  |  |  | *16. Demonstrate an awareness of locating and verifying buried utility lines [A19] |  |
|  |  |  |  |  |  |  | #17. Shoring and bracing excavation [A20] |  |
|  |  |  |  |  |  |  | #18. Demonstrate awareness of confined space entry [A21] |  |
|  |  |  |  |  |  |  | #19. Identify hazardous materials on site (i.e., leaking gas, asbestos) [A22] |  |

|  |  |  |  |  |  |  | #20. Work safely around laser equipment [A23] |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | *21. Demonstrate awareness of OSHA guidelines [A24] |  |
|  |  |  |  |  |  |  | #22. Administer first aid and CPR [A25] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 2. Pre-Employment Skills | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | *1. Identify employment opportunities in the plumbing trade [J01] |  |
|  |  |  |  |  |  |  | *2. Complete a job application thoroughly [J02] |  |
|  |  |  |  |  |  |  | *3. Develop and present a resume [J03] |  |
|  |  |  |  |  |  |  | *4. Maintain a professional appearance (neat, clean, groomed, appropriately dressed) [J04] |  |
|  |  |  |  |  |  |  | *5.Demonstrate effectiveness in oral and written communication [J05] |  |
|  |  |  |  |  |  |  | *6. Demonstrate good interpersonal skills [J06] |  |
|  |  |  |  |  |  |  | *7. Demonstrate a polite/respectful attitude [J07] |  |
|  |  |  |  |  |  |  | *8. Demonstrate good interviewing skills [J08] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 3. Basic Skills | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | *1. Demonstrate basic reading skills [B12] |  |
|  |  |  |  |  |  |  | *2. Perform general mathematical calculations [B04] |  |
|  |  |  |  |  |  |  | *3. Use good time management skills (i.e., efficient use of time on job site) [B13] |  |
|  |  |  |  |  |  |  | 4. Lay out and plan any given installation [B14] |  |
|  |  |  |  |  |  |  | #5. Define plumbing terminology [B02] |  |
|  |  |  |  |  |  |  | 6.Read and interpret Americans with Disabilities Act (ADA) requirements [B15] |  |
|  |  |  |  |  |  |  | *7. Read measuring devices [B03] |  |
|  |  |  |  |  |  |  | 8. Read and interpret a blueprint [B05] |  |
|  |  |  |  |  |  |  | 9. Sketch a plumbing layout [B06] |  |
|  |  |  |  |  |  |  | #10. Read and interpret catalog and rough-in information [B07] |  |
|  |  |  |  |  |  |  | 11. Read and interpret specifications [B08] |  |
|  |  |  |  |  |  |  | #12. Prepare a bill of materials [B09] |  |
|  |  |  |  |  |  |  | 13. Read and interpret applicable codes [B10] |  |
|  |  |  |  |  |  |  | 14. Identify basic structural framing components [B11] |  |
|  |  |  |  |  |  |  | 15. Use judgment for structural penetrations (i.e., drilling, cutting, notching) [B16] |  |
|  |  |  |  |  |  |  | *16. Solder a 95/5 copper joint [B17] |  |
|  |  |  |  |  |  |  | *17. Assemble a soft and rigid lead-free copper joint [B18] |  |
|  |  |  |  |  |  |  | 18. Silver braze a copper joint [B19] |  |
|  |  |  |  |  |  |  | 19. Assemble a plastic joint/connection [B20] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 4. Basic Use of Hand and Power Tools | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | *1. Identify types of pipe cutters [C14] |  |
|  |  |  |  |  |  |  | *2. Cut cast-iron pipe with a snap cutter [C15] |  |
|  |  |  |  |  |  |  | 3. Cut cast-iron pipe with a ratchet cutter [C16] |  |
|  |  |  |  |  |  |  | #4. Cut cast-iron pipe using a hammer and a chisel [C17] |  |
|  |  |  |  |  |  |  | *5. Cut cast-iron pipe using hand saw [C18] |  |
|  |  |  |  |  |  |  | 6. Cut plastic pipe using tubing cutter [C19] |  |
|  |  |  |  |  |  |  | 7. Cut plastic pipe using ratchet shear [C20] |  |
|  |  |  |  |  |  |  | *8. Cut copper pipe using tubing cutter [C21] |  |
|  |  |  |  |  |  |  | 9. Cut vitrified clay pipe using a hammer and chisel [C22] |  |
|  |  |  |  |  |  |  | 10. Cut vitrified clay pipe with a snap cutter [C23] |  |
|  |  |  |  |  |  |  | 11. Operate a three-way threader (by hand) [C03] |  |
|  |  |  |  |  |  |  | 12. Operate an drop-head ratchet threader (by hand) [C04] |  |
|  |  |  |  |  |  |  | 13. Operate an adjustable 1”-2” ratchet threader (by hand) [C05] |  |
|  |  |  |  |  |  |  | *14. Assemble fittings using two pipe wrenches [C06] |  |
|  |  |  |  |  |  |  | 15. Operate a power threader with a nipple chuck [C07] |  |
|  |  |  |  |  |  |  | 16. Operate a power vise with a three-way threader [C08] |  |
|  |  |  |  |  |  |  | 17. Operate a power vise with a drop-head ratchet threader [C09] |  |
|  |  |  |  |  |  |  | 18. Operate a power vise with a quick-open threader [C24] |  |
|  |  |  |  |  |  |  | #19. Operate a right-angle drill/high torque drill [C25] |  |
|  |  |  |  |  |  |  | #20. Operate a chop saw [C26] |  |
|  |  |  |  |  |  |  | #21. Operate a reciprocating saw [C13] |  |
|  |  |  |  |  |  |  | *22. Operate a fuel-air torch [C27] |  |
|  |  |  |  |  |  |  | 23. Operate plastic fusion equipment [C28] |  |
|  |  |  |  |  |  |  | 24. Operate laser equipment [C29] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 5. Soil, Waste, and Vent Systems (Rough-In) | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Construct a cast-iron/lead and oakum assembly [D03] |  |
|  |  |  |  |  |  |  | 2. Construct a cast-iron assembly with compression gasket joints [D04] |  |
|  |  |  |  |  |  |  | 3. Construct a no-hub cast-iron pipe assembly [D05] |  |
|  |  |  |  |  |  |  | 4. Assemble a vitrified clay pipe compression joint [D09] |  |
|  |  |  |  |  |  |  | 5. Install a clay-to-plastic adapter coupling [D10] |  |
|  |  |  |  |  |  |  | 6. Excavate a trench and maintain desired grade [D13] |  |
|  |  |  |  |  |  |  | 7. Install a floor drain [D14] |  |
|  |  |  |  |  |  |  | 8. Rough-in for a three-fixture bath, including main vent and flashing [D15] |  |
|  |  |  |  |  |  |  | 9. Rough-in for a kitchen sink [D16] |  |
|  |  |  |  |  |  |  | 10. Rough-in for a washing machine [D17] |  |
|  |  |  |  |  |  |  | 11. Rough-in for indirect waste [D19] |  |
|  |  |  |  |  |  |  | 12. Install backwater valve [D21] |  |
|  |  |  |  |  |  |  | #13. Perform a standing water test [D22] |  |
|  |  |  |  |  |  |  | #14. Perform an air test to manufacturer’s specifications [D23] |  |
|  |  |  |  |  |  |  | 15. Install a sump pump [D24] |  |
|  |  |  |  |  |  |  | 16. Install a subsoil drainage system [D25] |  |
|  |  |  |  |  |  |  | Other: |  |

| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 6. Water Distribution (Rough-In) | Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Install a building’s water service [E12] |  |
|  |  |  |  |  |  |  | #2. Install a main shut-off valve [E17] |  |
|  |  |  |  |  |  |  | *3. Assemble soft tubing with flare fittings [E01] |  |
|  |  |  |  |  |  |  | *4. Assemble soft tubing with compression joints [E02] |  |
|  |  |  |  |  |  |  | *5. Construct a soft tubing assembly with solder joints [E03] |  |
|  |  |  |  |  |  |  | 6. Install a water distribution system of galvanized steel [E04] |  |
|  |  |  |  |  |  |  | 7. Install a water distribution system of hard-drawn copper [E05] |  |
|  |  |  |  |  |  |  | 8. Install a water distribution system of CPVC (chlorinated polyvinyl chloride) [E06] |  |
|  |  |  |  |  |  |  | 9. Rough-in water supply for a laundry box [E25] |  |
|  |  |  |  |  |  |  | 10. Rough-in water supply for a laundry tub [E26] |  |
|  |  |  |  |  |  |  | 11. Rough-in water supply for a kitchen sink [E10] |  |
|  |  |  |  |  |  |  | 12. Install a sillcock [E27] |  |
|  |  |  |  |  |  |  | 13. Rough-in water supply for a water heater [E15] |  |
|  |  |  |  |  |  |  | 14. Rough-in water supply for three-fixture bath [E16] |  |
|  |  |  |  |  |  |  | 15. Apply a 95/5 solder system [E19] |  |
|  |  |  |  |  |  |  | 16. Apply a lead-free solder system [E20] |  |
|  |  |  |  |  |  |  | 17. Apply a silver brazed system [E21] |  |
|  |  |  |  |  |  |  | 18. Install water hammer arrestors [E28] |  |
|  |  |  |  |  |  |  | #19. Perform an air pressure test [E23] |  |
|  |  |  |  |  |  |  | #20. Perform a water pressure test [D24] |  |
|  |  |  |  |  |  |  | 21. Install a pressure reducing valve [E29] |  |
|  |  |  |  |  |  |  | 22. Install a backflow prevention assembly where required [E30] |  |
|  |  |  |  |  |  |  | 23. Install a check valve on a water supply line to a plumbing appliance [E31] |  |
|  |  |  |  |  |  |  | 24. Install a vacuum breaker on a water supply line to a plumbing appliance [E32] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7. Fixtures and Trim | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | *1. Identify components of fixture hardware [F01] |  |
|  |  |  |  |  |  |  | #2. Install a lavatory (cabinet installation ) [F02] |  |
|  |  |  |  |  |  |  | #3. Trim out a lavatory [F03] |  |
|  |  |  |  |  |  |  | #4. Install a tank-type water closet [F04] |  |
|  |  |  |  |  |  |  | #5. Install a kitchen sink [F05] |  |
|  |  |  |  |  |  |  | #6. Trim out a kitchen sink [F06] |  |
|  |  |  |  |  |  |  | #7. Install a garbage disposal [F07] |  |
|  |  |  |  |  |  |  | 8. Hook up a dishwasher [F08] |  |
|  |  |  |  |  |  |  | #9. Install a wall-hung lavatory [F09] |  |
|  |  |  |  |  |  |  | 10. Install a gas water hater [F10] |  |
|  |  |  |  |  |  |  | 11. Install an electric water heater [F11] |  |
|  |  |  |  |  |  |  | 12. Install a tub with tub filler [F18] |  |
|  |  |  |  |  |  |  | #13. Set a shower stall [F14] |  |
|  |  |  |  |  |  |  | 14. Install a service sink [F15] |  |
|  |  |  |  |  |  |  | 15. Install shut-off valves [F16] |  |
|  |  |  |  |  |  |  | 16. Trim out a three-fixture bath [F17] |  |
|  |  |  |  |  |  |  | 17. Install a water softener [F19] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 8. Service and Repair of Plumbing, Fixtures, and Appliances | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Replace water closet wax ring [G01] |  |
|  |  |  |  |  |  |  | 2. Repair or replace water closet ball cock [G02] |  |
|  |  |  |  |  |  |  | 3. Repair or replace water closet flush valve [G03] |  |
|  |  |  |  |  |  |  | 4. Replace water closet tank gasket [G04] |  |
|  |  |  |  |  |  |  | 5. Repair or replace flushometer valves [G32] |  |
|  |  |  |  |  |  |  | 6. Clear stoppage using closet auger [G05] |  |
|  |  |  |  |  |  |  | 7. Replace faucet washer and seat [G06] |  |
|  |  |  |  |  |  |  | 8. Replace patented overflow (P.O.) plug [G07] |  |
|  |  |  |  |  |  |  | 9. Replace lavatory trap [G08] |  |
|  |  |  |  |  |  |  | 10. Repair or replace lavatory faucet, two-handled mixing valve [G09] |  |
|  |  |  |  |  |  |  | 11. Repair or replace lavatory faucet, single lever [G10] |  |
|  |  |  |  |  |  |  | 12. Replace tub connected waste and overflow [G11] |  |
|  |  |  |  |  |  |  | 13. Replace tub diverter [G12] |  |
|  |  |  |  |  |  |  | 14. Replace tub shower arm and head [G13] |  |
|  |  |  |  |  |  |  | 15. Replace kitchen sink [G14] |  |
|  |  |  |  |  |  |  | 16. Repair or replace kitchen sink faucet, two-handled mixing valve [G15] |  |
|  |  |  |  |  |  |  | 17. Repair or replace kitchen sink faucet, single lever [G16] |  |
|  |  |  |  |  |  |  | 18. Replace sink waste, basket strainer type [G17] |  |
|  |  |  |  |  |  |  | 19. Replace kitchen sink trap [G18] |  |
|  |  |  |  |  |  |  | 20. Replace kitchen sink continuous waste [G19] |  |
|  |  |  |  |  |  |  | 21. Remove and replace garbage disposal [G20] |  |
|  |  |  |  |  |  |  | 22. Replace gas water heater [G21] |  |
|  |  |  |  |  |  |  | 23. Replace gas water heater control valve [G22] |  |

|  |  |  |  |  |  |  | 24. Replace gas water heater thermocouple [G23] |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 25. Replace electric water heater [G24] |  |
|  |  |  |  |  |  |  | 26. Replace electric water heater elements [G25] |  |
|  |  |  |  |  |  |  | 27. Replace electric water heater thermostats [G26] |  |
|  |  |  |  |  |  |  | 28. Replace T & P relief valve with proper discharge type [G33] |  |
|  |  |  |  |  |  |  | 29. Replace water heater drain valve [G34] |  |
|  |  |  |  |  |  |  | 30.Thaw frozen pipes [G27] |  |
|  |  |  |  |  |  |  | *31.Insulate water lines [G28] |  |
|  |  |  |  |  |  |  | 32. Repair solder joint [G29] |  |
|  |  |  |  |  |  |  | 33. Install repair coupling [G30] |  |
|  |  |  |  |  |  |  | 34. Repair or replace fixture shut-off valve [G35] |  |
|  |  |  |  |  |  |  | 35. Clear stoppage using an electric sewer cable [G36] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 9. Supporting and Hanging Pipe | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1. Install expansion anchors [H01] |  |
|  |  |  |  |  |  |  | 2. Place inserts [H02] |  |
|  |  |  |  |  |  |  | 3. Install stud anchors [H03] |  |
|  |  |  |  |  |  |  | 4. Hang pipe using wire pipe hooks [H04] |  |
|  |  |  |  |  |  |  | 5. Hang pipe using clevis hangers [H06] |  |
|  |  |  |  |  |  |  | 6. Hang pipe using split-ring hangers [H07] |  |
|  |  |  |  |  |  |  | 7. Install beam clamps [H08] |  |
|  |  |  |  |  |  |  | 8. Support pipe using riser clamps [H09] |  |
|  |  |  |  |  |  |  | *9. Install backing boards for fixtures [H10] |  |
|  |  |  |  |  |  |  | *10. Install bathtub supports [H11] |  |
|  |  |  |  |  |  |  | *11. Install backing for shower head supports [H12] |  |
|  |  |  |  |  |  |  | 12. Install pipe sleeves through concrete or masonry wall [H13] |  |
|  |  |  |  |  |  |  | 13. Install fire caulking [H14] |  |
|  |  |  |  |  |  |  | 14. Install unistrut supports [H15] |  |
|  |  |  |  |  |  |  | Other: |  |

| # 0 | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 10. Leadership | # Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | *1. Demonstrate an understanding of VICA, its structure, and activities [I01] |  |
|  |  |  |  |  |  |  | *2. Demonstrate an understanding of one’s personal values [I02] |  |
|  |  |  |  |  |  |  | *3. Perform tasks related to effective personal management skills [I03] |  |
|  |  |  |  |  |  |  | *4. Demonstrate good interpersonal skills [I04] |  |
|  |  |  |  |  |  |  | *5. Demonstrate etiquette and courtesy [I05] |  |
|  |  |  |  |  |  |  | *6. Demonstrate effectiveness in oral and written communication [I06] |  |
|  |  |  |  |  |  |  | *7. Develop and maintain a code of professional ethics [I07] |  |
|  |  |  |  |  |  |  | *8. Maintain a good professional appearance [I08] |  |
|  |  |  |  |  |  |  | *9. Perform basic tasks related to securing and terminating employment [I09] |  |
|  |  |  |  |  |  |  | *10. Perform basic parliamentary procedures in a group meeting [I10] |  |
|  |  |  |  |  |  |  | Other: |  |